## Slide 1: Wind Power Green Energy
Rabie Abu Saleem

## Slide 2
Skeleton
Historical Development And Statistics
Wind Power Turbines
Wind Power Calculations
Wind Power and CO2 Emissions
Wind Power and Energy Storage
Wind Power and Smart Grid
Conclusion
References

## Slide 3
Historical Development
and Statistics

## Slide 4: Historical Development and Statistics
Wind power is old.
1891: First wind turbine by a Dane Poul la Cour.
1890s: First wind-electric systems in the US in.
1930s and 1940s: many were running in the US.
1941: largest system (1250 kW) built at Grandpa’s Knob in Vermont.
Historical Development

## Slide 5
Global capacity growth
over 25% per year since the mid-1990s.
Historical Development and Statistics
Statistics

## Slide 6: Wind Power Turbines
Vertical Axis Wind Turbines (VAWTs)
Horizontal Axis Wind Turbines (HAWTs)

## Slide 7: Types of Wind Power Turbines
Wind Power Turbines
Horizontal Axis Wind Turbine (HAWT)
Vertical Axis Wind Turbine (VAWT)

## Slide 8: Horizontal Axis Wind Turbine (HAWT)
advantages:
increased efficiency.
smooth transfer of power from the rotor to the gearbox.
Higher power levels and smaller footprints on the ground.
Disadvantages:
require a yaw system
maintenance has to be done at the top.
require tall cranes for set-up.
Wind Power Turbines

## Slide 9: Vertical Axis Wind Turbine (VAWT)
advantages:
generator and gearbox can be housed on the ground.
requires no yaw mechanism.
Disadvantages:
not much wind.
Little starting torque.
Repair requires taking the whole machine apart.
40% less efficient in energy production.
Wind Power Turbines

## Slide 10: Vertical Axis Wind Turbine (VAWT)
Darrieus wind turbine
Giromills wind turbine
Savonius wind turbine
Wind Power Turbines

## Slide 11: Wind Power Calculations
Power Calculation
Friction Effect
Average Power

## Slide 12: Power
Wind Power Calculations
m
v
A
v

## Slide 13: Friction Effect
Terrain Characteristics | Friction Coefficient α
Smooth hard ground, calm water | 0.10
Tall grass on level ground | 0.15
High crops, hedges and shrubs | 0.20
Wooded countryside, many trees | 0.25
Small town with trees and shrubs | 0.30
Large city with tall buildings | 0.40
Friction Coefficient for Various Terrain Characteristics
Wind Power Calculations

## Slide 14: Average Power
Rayleigh probability density function:
Wind Power Calculations

## Slide 15: Wind Power and CO2 Emissions
Windmills don’t decrease the CO2 emission, it can further increase it!!

## Slide 16: Wind Power and CO2 Emissions
Balance the total supply with the total demand.
Studies:
2007: Wind power reduced CO2 emissions by over 28 million tons.
DOE: 20% of the electricity from wind energy by 2030 would cut CO2 emissions by over 7.6 billion tons. Natural gas used by 50%.
In Texas: Adding 3,000 (MW) of wind energy would reduce :
CO2 by about 5.5 million tons per year
sulfur dioxide by about 4,000 tons per year
nitrogen oxide by about 2,000 tons per year.
30 MW Kaheawa wind plant in Hawaii reduced oil imports by almost 10 million gallons per year.

## Slide 17: Wind Power and Energy Storage
Energy Storage and Flexibility
Energy Storage Options
The UltraBattery Technology

## Slide 18: Wind Power and Energy Storage
Fraction of Energy from Wind and Solar
0%
1%
20%
100%
Studied
storage valuable but not necessary
Present
Past
Near Future
Flexibility as an alternative.
recourses for flexibility :
Spinning reserves.
Non-spinning reserves.
Hydroelectric , natural gas.
Energy Storage and Flexibility
Low Carbon Future
Less studied
storage increasingly valuable and at some point necessary

## Slide 19: Energy Storage Options
Battery Storage
Hydrogen Production
Pumped Storage
Flywheel Energy Storage
Compressed Air Storage
Thermal Storage
Existing already:
Other options:
Hydroelectric reservoirs
gas pipelines
gas storage facilities
coal piles
Wind Power and Energy Storage

## Slide 20: Wind Power and Energy Storage
Developed by CSIRO
Two technologies: supercapacitor and lead acid battery.
high charge–discharge rates and greater energy storage.
The UltraBattery

## Slide 21
The UltraBattery
Compared to Ni-Metal hydride batteries:
70% less expensive.
comparable performance:
fuel consumption
carbon-dioxide emissions
cycle life.
faster charge and discharge rates.
Challenges
Operational potential.
gassing rate
cycle-life
cost.
weight.
Wind Power and Energy Storage
Notes: Lpoidhjtoidttyhoixfmhx[ofpihj-x=

## Slide 22: Wind Power and Smart Grid
The grid is not an electricity storage device, and adding windmills decreases the grid stability!!

## Slide 23
Electrical grid can be thought of as an energy storage system.
sources of flexibility for more stability.
smart grid.
Wind Power and Smart Grid

## Slide 24
Smart Devices
Use of two-way communication
Advanced sensors and control systems
* Many applications: Self Healing Networks
Wind Power and Smart Grid
Smart Grid

## Slide 25: Self Healing Networks
Normal Feeder Configuration
Self Healing Networks – Intellirupters
Substation 1
Substation 2
N.O
Substation 1
Substation 2
N.O
1500 customers loss
750 customers saved

## Slide 26
Wind energy is an old energy that is still undergoing huge development and capacity growth
Power produced by a wind turbine depends on its Type, its size, and its location.
Considering the total balance of supply and demand of energy, wind power contributes in decreasing the total emission of CO2
For the near future, storage of wind energy in valuable but not essential, for future clean energy it is essential.
Battery Storage technologies are the most promising with wind power.
Flexible resources and the smart grid can help reducing the problem of grid instability.
Conclusions

## Slide 27
Questions
?

## Slide 28
References
Masters G. “Renewable and Efficient Electric Power Systems”. A JOHN WILEY & SONS, INC., PUBLICATION.(2004) p307-379
“UltraBattery”. The Commonwealth Scientific and Industrial Research Organisation(CSIRO). Retreived on December 2 2011 from: http://www.csiropedia.csiro.au/pages/viewpage.action?pageId=426226
Ragheb M., Notes on “Energy Storage Options”. Retrieved on December 1 2011 from: https://netfiles.uiuc.edu/mragheb/www/NPRE%20498ES%20Energy%20Storage%20Systems/Energy%20Storage%20Options.pdf
Basics about Wind Energy. American Wind Energy Association, Retreived on November 29 2001 from: http://www.awea.org/
Rousan T. A talk about “Distribution Automation & Smart Grid Technologies”, American Association for Arab Engineers and Architects. November 2001.
http://www.newenergywatch.com/2006/11/vawt_versus_haw.html
http://www.nrel.gov/wind/systemsintegration/energy_storage.html